## Overview
Preliminary assessment of the photovoltaic electricity production
Project | 40.062953°, 094.42614°
Geographical coordinates | 40.062953°, 94.426140° (40°03'47", 094°25'34")
Report generated | 14 Aug 2025
Generated by | Global Solar Atlas
Map link | https://globalsolaratlas.info/map?s=40.062953,94.42614,10&pv=ground,180,42,100000000

## Site_info
Project | 40.062953°, 094.42614°
Location
Geographical coordinates | 40.062953°, 94.426140° (40°03'47", 094°25'34")
Time zone | UTC+06
Elevation | 1264 m

## PV_config
PV system configuration
Ground-mounted large scale | Large-scale commercial photovoltaic system mounted on leveled ground. Azimuth and tilt of PV modules are homogeneous, usually facing towards the Equator and inclined at the optimum tilt to maximize yearly energy yield. The modules are fix-mounted on tilted structures aligned in rows.
System size | 100000000 | kWp
Tilt of PV panels | 42 | °
Azimuth of PV panels | 180 | °

## Map_data
Map data
Direct normal irradiation | DNI | 1703.2 | kWh/m²
Global horizontal irradiation | GHI | 1714.6 | kWh/m²
Diffuse horizontal irradiation | DIF | 714.5 | kWh/m²
Global tilted irradiation at optimum angle | GTI_opta | 2061.5 | kWh/m²
Air temperature | TEMP | 12 | °C
Optimum tilt of PV modules | OPTA | 38 | °
Terrain elevation | ELE | 1264 | m

## Monthly_averages
Monthly averages
| PVOUT_specific | PVOUT_total | DNI
| kWh/kWp | kWh | kWh/m²
Jan | 121.9 | 12,185,941,268.7 | 128.7
Feb | 135.2 | 13,523,436,230.6 | 139.9
Mar | 160.3 | 16,030,526,700.1 | 164.3
Apr | 152.2 | 15,215,309,961.0 | 154.1
May | 152.3 | 15,229,932,817.1 | 174
Jun | 137 | 13,701,527,249.3 | 151
Jul | 134.1 | 13,406,308,748.7 | 138.2
Aug | 139.6 | 13,959,103,196.3 | 145.2
Sep | 140.6 | 14,064,586,466.4 | 141.6
Oct | 145.5 | 14,553,128,853.4 | 141.6
Nov | 119.2 | 11,916,648,059.6 | 113.8
Dec | 108.2 | 10,818,808,668.0 | 110
Yearly | 1646.1 | 164605258219.2 | 1702.4

## Hourly_profiles
Average hourly profiles
Total photovoltaic power output [Wh]
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 - 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 - 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 - 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 - 5 | 0 | 0 | 0 | 0 | 178216627 | 457631450 | 117978988 | 0 | 0 | 0 | 0 | 0
5 - 6 | 0 | 0 | 36711127 | 1093342833 | 3589408579 | 4226338043 | 3030676133 | 1157416305 | 329290240 | 0 | 0 | 0
6 - 7 | 0 | 89094024 | 3742431381 | 10068008520 | 12724939546 | 11707081835 | 9615944121 | 8906569367 | 8679248150 | 5774736552 | 241761659 | 0
7 - 8 | 3410325403 | 11040800770 | 19713499091 | 25309763922 | 27986381480 | 24796537313 | 21589741880 | 22285446662 | 24797167902 | 26192123123 | 13309359342 | 3556622449
8 - 9 | 24869912300 | 33397832161 | 38602860959 | 42798090105 | 43196132199 | 38473077089 | 34766658712 | 37055790734 | 41667595225 | 45294429947 | 37817874961 | 23400075874
9 - 10 | 48323263887 | 53298807650 | 57818224268 | 58297585161 | 55636385305 | 50304295020 | 46864801262 | 50587309800 | 55662754665 | 59745593159 | 54520682055 | 48191954102
10 - 11 | 61076799338 | 67766957644 | 70540333424 | 67806308963 | 63811866448 | 58381940450 | 55434599517 | 58959444263 | 64431969319 | 68442565952 | 63875523974 | 59170491330
11 - 12 | 66554562273 | 74320717729 | 75132714180 | 70981634581 | 66817177421 | 61759277014 | 59018152033 | 62145852661 | 66995829175 | 70778039129 | 66488647532 | 62889947590
12 - 13 | 65826516444 | 74047872901 | 74486114009 | 69288978343 | 64589668462 | 59568791377 | 57409946543 | 60670281025 | 64586250098 | 67079341617 | 62828836019 | 60752226651
13 - 14 | 59230163913 | 68434281335 | 68378867694 | 61624868511 | 56975335099 | 52577445155 | 51748584879 | 54856718961 | 57235836316 | 57812270503 | 52373048226 | 52335517310
14 - 15 | 45360891152 | 56500197992 | 56505080710 | 49075215095 | 44793533201 | 41982658391 | 41301180552 | 44092145266 | 44417367214 | 42778968948 | 35532127431 | 31823996490
15 - 16 | 17390636625 | 35675523737 | 36199582790 | 32490108039 | 30366924770 | 29440910143 | 28868778450 | 30061398134 | 27929709817 | 22392239140 | 10099123156 | 6872996206
16 - 17 | 1051808302 | 8391049518 | 15028477609 | 15456330835 | 15554678539 | 15984123564 | 15788878195 | 15399848850 | 11264134641 | 3165461396 | 134617631 | 0
17 - 18 | 0 | 16729916 | 928867278 | 2875038249 | 4690978553 | 5962732968 | 5960619882 | 3988201202 | 822396119 | 0 | 0 | 0
18 - 19 | 0 | 0 | 0 | 11725544 | 376529164 | 1094735164 | 945031388 | 127228263 | 0 | 0 | 0 | 0
19 - 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 - 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 - 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 - 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 - 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum | 393094879637 | 482979865377 | 517113764520 | 507176998701 | 491288155393 | 456717574976 | 432461572535 | 450293651493 | 468819548881 | 469455769466 | 397221601986 | 348993828002
Direct normal irradiation [Wh/m²]
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 - 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 - 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 - 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 - 5 | 0 | 0 | 0 | 0 | 6 | 17 | 2 | 0 | 0 | 0 | 0 | 0
5 - 6 | 0 | 0 | 0 | 30 | 153 | 147 | 89 | 35 | 11 | 0 | 0 | 0
6 - 7 | 0 | 0 | 77 | 216 | 308 | 255 | 200 | 207 | 183 | 111 | 5 | 0
7 - 8 | 76 | 183 | 281 | 337 | 415 | 344 | 284 | 308 | 331 | 335 | 200 | 69
8 - 9 | 363 | 390 | 415 | 448 | 489 | 422 | 362 | 398 | 434 | 460 | 388 | 331
9 - 10 | 497 | 534 | 563 | 535 | 552 | 488 | 435 | 473 | 509 | 545 | 499 | 468
10 - 11 | 580 | 629 | 641 | 587 | 587 | 532 | 480 | 517 | 557 | 590 | 549 | 537
11 - 12 | 607 | 676 | 664 | 601 | 603 | 545 | 500 | 531 | 571 | 601 | 564 | 557
12 - 13 | 606 | 680 | 663 | 594 | 592 | 528 | 487 | 529 | 560 | 581 | 545 | 549
13 - 14 | 578 | 660 | 645 | 558 | 548 | 483 | 456 | 504 | 525 | 539 | 490 | 504
14 - 15 | 500 | 615 | 601 | 492 | 473 | 425 | 401 | 444 | 455 | 455 | 382 | 399
15 - 16 | 318 | 475 | 459 | 393 | 394 | 361 | 332 | 360 | 352 | 298 | 169 | 135
16 - 17 | 26 | 153 | 269 | 274 | 308 | 278 | 249 | 267 | 210 | 53 | 2 | 0
17 - 18 | 0 | 0 | 21 | 74 | 171 | 181 | 157 | 108 | 23 | 0 | 0 | 0
18 - 19 | 0 | 0 | 0 | 0 | 12 | 29 | 23 | 1 | 0 | 0 | 0 | 0
19 - 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 - 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 - 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 - 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 - 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum | 4151 | 4995 | 5299 | 5139 | 5611 | 5035 | 4457 | 4682 | 4721 | 4568 | 3793 | 3549

## Glossary
Acronyms and glossary
Acronym | Full name | Unit | Type of use
DIF | Diffuse horizontal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of diffuse horizontal irradiation (© 2025 Solargis)
DNI | Direct normal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of direct normal irradiation (© 2025 Solargis)
ELE | Terrain elevation | m, ft | Elevation of terrain surface above/below sea level, processed and integrated from SRTM-3 data and related data products (SRTM v4.1 © 2004 - 2025, CGIAR-CSI)
GHI | Global horizontal irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global horizontal irradiation (© 2025 Solargis)
GTI | Global tilted irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation (© 2025 Solargis)
GTI opta | Global tilted irradiation at optimum angle | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation for PV modules fix-mounted at optimum angle (© 2025 Solargis)
OPTA | Optimum tilt of PV modules | ° | Optimum tilt of fix-mounted PV modules facing towards Equator set for maximizing GTI input (© 2025 Solargis)
PVOUT_specific | Specific photovoltaic power output | kWh/kWp | Yearly and monthly average values of photovoltaic electricity (AC) delivered by a PV system and normalized to 1 kWp of installed capacity (© 2025 Solargis)
PVOUT_total | Total photovoltaic power output | kWh, MWh, GWh | Yearly and monthly average values of photovoltaic electricity (AC) delivered by the total installed capacity of a PV system (© 2025 Solargis)
TEMP | Air temperature | °C, °F | Average yearly, monthly and daily air temperature at 2 m above ground. Calculated from outputs of ERA5 model (© 2025 ECMWF, post-processed by Solargis)